## 4001
Assumptions within this workbook
[5 empty] | Peak kW | Off-peak kW | Other kW
|  |  |  | Standard home | 0.8 | 0.25 | 0.38841
|  |  |  | Electric home | 1.1 | 1.6 | 0.43482
|  |  |  | Business kVA | 0.7 | 0.2 | 0.224
4001. Consumption assumptions for illustrative customers
| Order | Tariff selection | Peak-time hours/week | Off-peak hours/week | Peak-time load (kW) | Off-peak load (kW) | Load at other times (kW) | Capacity (kVA) | Total kWh/year | Rate 2 kWh/year | Load factor (kW/kVA) | Peak to average load ratio
Size XL Off-peak | 102 | ^(?:¦LDNO .*)HV HH Metered$ |  | 74.6667 |  | 4500 |  | 5000 | 17520000 | 17520000 | 40% | 0
Size XL Intermittent | 103 | ^(?:¦LDNO .*)HV HH Metered$ |  |  |  |  | 2000 | 5000 | 17520000 | 0 | 40% | 1
Size XL Peaky | 104 | ^(?:¦LDNO .*)HV HH Metered$ | 66 | 77 | 3500 | 1000 | 1120 | 5000 | 17520000 | 4015000 | 40% | 1.75
Size XL Continuous | 105 | ^(?:¦LDNO .*)HV HH Metered$ |  |  |  |  | 4500 | 5000 | 39420000 | 0 | 90% | 1
Size L Off-peak | 202 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  | 74.6667 |  | 450 |  | 500 | 1752000 | 1752000 | 40% | 0
Size L Intermittent | 203 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  |  |  |  | 200 | 500 | 1752000 | 0 | 40% | 1
Size L Peaky | 204 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 66 | 77 | 350 | 100 | 112 | 500 | 1752000 | 401500 | 40% | 1.75
Size L Continuous | 205 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  |  |  |  | 450 | 500 | 3942000 | 0 | 90% | 1
Size M Off-peak | 302 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UT]¦$)¦HH Metered$) |  | 74.6667 |  | 62.1 |  | 69 | 241776 | 241776 | 40% | 0
Size M Intermittent | 303 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UT]¦$)¦HH Metered$) |  |  |  |  | 27.6 | 69 | 241776 | 0 | 40% | 1
Size M Peaky | 304 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UT]¦$)¦HH Metered$) | 66 | 77 | 48.3 | 13.8 | 15.456 | 69 | 241776 | 55407 | 40% | 1.75
Size M Continuous | 305 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UT]¦$)¦HH Metered$) |  |  |  |  | 62.1 | 69 | 543996 | 0 | 90% | 1
Size S Off-peak | 402 | ^(?:Small¦LV).*Non[- ]Domestic(?: [UT]¦$) |  | 74.6667 |  | 20.7 |  | 23 | 80592 | 80592 | 40% | 0
Size S Intermittent | 403 | ^(?:Small¦LV).*Non[- ]Domestic(?: [UT]¦$) |  |  |  |  | 9.2 | 23 | 80592 | 0 | 40% | 1
Size S Peaky | 404 | ^(?:Small¦LV).*Non[- ]Domestic(?: [UT]¦$) | 66 | 77 | 16.1 | 4.6 | 5.152 | 23 | 80592 | 18469 | 40% | 1.75
Size S Continuous | 405 | ^(?:Small¦LV).*Non[- ]Domestic(?: [UT]¦$) |  |  |  |  | 20.7 | 23 | 181332 | 0 | 90% | 1
Large windmill | 500 | ^HV.*Gener |  |  |  |  | 500 | 1500 | 4380000 | 0 | 33.33% | 1
Size XL Homes electric | 762 | ^(?:¦LDNO .*)HV HH Metered$ | 35 | 49 | 1100 | 1600 | 434.8174 | 5000 | 8000000 | 4088000 | 18.26% | 1.2045
Size L Homes electric | 763 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 35 | 49 | 110 | 160 | 43.4817 | 500 | 800000 | 408800 | 18.26% | 1.2045
Size M Homes electric | 764 | ^(?:Small¦LV).*(?:Non[- ]Domestic [UT]¦HH Metered$) | 35 | 49 | 11 | 16 | 4.3482 | 69 | 80000 | 40880 | 13.24% | 1.2045
Home electric heat | 765 | (?:^¦: ¦Network)Domestic [UT] | 35 | 49 | 1.1 | 1.6 | 0.43482 | 18 | 8000 | 4088 | 5.074% | 1.2045
Size XL Homes standard | 772 | ^(?:¦LDNO .*)HV HH Metered$ | 35 | 49 | 2000 | 625 | 971.0331 | 5000 | 9500000 | 1596875 | 21.69% | 1.8442
Size L Homes standard | 773 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 35 | 49 | 200 | 62.5 | 97.1033 | 500 | 950000 | 159687.5 | 21.69% | 1.8442
Size M Homes standard | 774 | ^(?:Small¦LV).*(?:Non[- ]Domestic [UT]¦HH Metered$) | 35 | 49 | 20 | 6.25 | 9.7103 | 69 | 95000 | 15968.75 | 15.72% | 1.8442
Home standard | 802 | (?:^¦: ¦Network)Domestic [UT] | 35 | 49 | 0.8 | 0.25 | 0.38841 | 9 | 3800 | 638.75 | 4.82% | 1.8442
Home low use | 803 | (?:^¦: ¦Network)Domestic [UT] | 35 | 49 | 0.4 | 0.125 | 0.19421 | 6 | 1900 | 319.375 | 3.615% | 1.8442