## Sheet1
1202. Consumption assumptions for illustrative customers
| Tariff selection | Peak-time hours/week | Off-peak hours/week | Peak-time load (kW) | Off-peak load (kW) | Load at other times (kW) | Capacity (kVA) | Total kWh/year | Rate 2 kWh/year | Load factor (kW/kVA)
500kVA business | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 66 | 77 | 355 | 100 | 100 | 500 | 1753564.2857 | 401500 | 40.04%
500kVA continuous | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  |  |  |  | 450 | 500 | 3942000 | 0 | 90%
500kVA off-peak | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  | 74.6667 |  | 450 |  | 500 | 1752000 | 1752000 | 40%
500kVA random | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ |  |  |  |  | 200 | 500 | 1752000 | 0 | 40%
5MVA business | ^HV HH Metered$ | 66 | 77 | 3550 | 1000 | 1000 | 5000 | 17535642.8571 | 4015000 | 40.04%
5MVA continuous | ^HV HH Metered$ |  |  |  |  | 4500 | 5000 | 39420000 | 0 | 90%
5MVA off-peak | ^HV HH Metered$ |  | 74.6667 |  | 4500 |  | 5000 | 17520000 | 17520000 | 40%
5MVA random | ^HV HH Metered$ |  |  |  |  | 2000 | 5000 | 17520000 | 0 | 40%
68kVA business | ^(?:¦LDNO .*: ¦Margin.*: )(?:Small Non Domestic (?:Unrestricted¦Two)¦LV.*(?:HH Metered$¦Medium)¦LV Network) | 66 | 77 | 48.28 | 13.6 | 13.6 | 68 | 238484.7429 | 54604 | 40.04%
68kVA continuous | ^(?:Small Non Domestic (?:Unrestricted¦Two)¦LV.*(?:HH Metered$¦Medium)¦LV Network) |  |  |  |  | 61.2 | 68 | 536112 | 0 | 90%
68kVA off-peak | ^(?:Small Non Domestic (?:Unrestricted¦Two)¦LV.*(?:HH Metered$¦Medium)¦LV Network) |  | 74.6667 |  | 61.2 |  | 68 | 238272 | 238272 | 40%
68kVA random | ^(?:Small Non Domestic (?:Unrestricted¦Two)¦LV.*(?:HH Metered$¦Medium)¦LV Network) |  |  |  |  | 27.2 | 68 | 238272 | 0 | 40%
Average home | ^(?:¦LDNO .*: ¦Margin.*: )(?:Domestic Unrestricted¦LV Network Dom) | 35 | 49 | 1 | 0.1 | 0.4 | 6 | 3832.5 | 255.5 | 7.292%
Average home x250 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 35 | 49 | 250 | 25 | 100 | 500 | 958125 | 63875 | 21.88%
Average home x2500 | ^HV HH Metered$ | 35 | 49 | 2500 | 250 | 1000 | 5000 | 9581250 | 638750 | 21.88%
Electric heating home | ^(?:¦LDNO .*: ¦Margin.*: )(?:Domestic (?:Unrestricted¦Two)¦LV Network Dom) | 35 | 49 | 1.25 | 1.5 | 0.5 | 18 | 8303.75 | 3832.5 | 5.266%
Electric heating home x100 | ^(?:LV¦LV Sub¦HV¦LDNO .*) HH Metered$ | 35 | 49 | 125 | 150 | 50 | 500 | 830375 | 383250 | 18.96%
Electric heating home x1000 | ^HV HH Metered$ | 35 | 49 | 1250 | 1500 | 500 | 5000 | 8303750 | 3832500 | 18.96%
Low use home | ^(?:¦LDNO .*: ¦Margin.*: )(?:Domestic Unrestricted¦LV Network Dom) | 35 | 49 | 0.5 | 0.05 | 0.2 | 3 | 1916.25 | 127.75 | 7.292%