## Sheet1
Consumption patterns
|  |  | Peak hours | Off-peak hours | Peak kW | Off-peak kW | Other kW
|  | Standard home (3.1MWh) | 35 | 49 | 0.649 | 0.178 | 0.333
|  | Economy 7 electric heat (8.4MWh 50% night) | 35 | 49 | 1.2 | 1.4 | 0.6
|  | Business (per kVA) | 62 | 49 | 0.7 | 0.225 | 0.225
|  | Off-peak (per kVA) | 93.4 | 49 | 0 | 0.9 | 0.9
|  | Continuous (per kVA) | 0 | 49 | 0.9 | 0.9 | 0.9
|  | Intermittent (per KVA) | 0 | 49 | 0.4 | 0.4 | 0.4
1202. Consumption assumptions for illustrative customers
| Order | Tariff selection | Peak-time hours/week | Off-peak hours/week | Peak-time load (kW) | Off-peak load (kW) | Load at other times (kW) | Capacity (kVA) | Average kWh/year | Average rate 2 kWh/year | Load factor (kW/kVA) | Peak to average load ratio | Modulo 10
Small business | 110 | ^(?:Small¦LV).*Non[- ]Domestic(?: [UTN]¦$) | 62 | 49 | 4.83 | 1.5525 | 1.5525 | 23 | 24212.1616 | 3969.3544 | 12.01% | 1.7487 | 0
Medium business | 210 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UTN]¦$)¦HH Metered) | 62 | 49 | 48.3 | 15.525 | 15.525 | 69 | 242121.6161 | 39693.5438 | 40.03% | 1.7487 | 0
Medium continuous | 225 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UTN]¦$)¦HH Metered) | 0 | 49 | 62.1 | 62.1 | 62.1 | 69 | 544368.6 | 158774.175 | 90% | 1 | 5
Medium off-peak | 235 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UTN]¦$)¦HH Metered) | 93.4 | 49 | 0 | 62.1 | 62.1 | 69 | 241725.5807 | 158774.175 | 39.96% | 2.252 | 5
Medium intermittent | 245 | ^(?:Small¦LV).*(?:Non[- ]Domestic(?: [UTN]¦$)¦HH Metered) | 0 | 49 | 27.6 | 27.6 | 27.6 | 69 | 241941.6 | 70566.3 | 40% | 1 | 5
Large business | 310 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 62 | 49 | 483 | 155.25 | 155.25 | 690 | 2421216.1607 | 396935.4375 | 40.03% | 1.7487 | 0
Large continuous | 320 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 0 | 49 | 621 | 621 | 621 | 690 | 5443686 | 1587741.75 | 90% | 1 | 0
Large off-peak | 330 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 93.4 | 49 | 0 | 621 | 621 | 690 | 2417255.8071 | 1587741.75 | 39.96% | 2.252 | 0
Large intermittent | 340 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 0 | 49 | 276 | 276 | 276 | 690 | 2419416 | 705663 | 40% | 1 | 0
Large housing electric | 355 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 35 | 49 | 120 | 140 | 60 | 690 | 840075 | 357945 | 13.89% | 1.2522 | 5
Large housing standard | 365 | ^(?:¦(?:LD¦Q)NO .*: )(?:LV¦LV Sub¦HV) HH Metered | 35 | 49 | 162.25 | 44.5 | 83.25 | 690 | 774969.1875 | 113775.375 | 12.81% | 1.8353 | 5
XL business | 410 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 62 | 49 | 3500 | 1125 | 1125 | 5000 | 17545044.6429 | 2876343.75 | 40.03% | 1.7487 | 0
XL continuous | 420 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 0 | 49 | 4500 | 4500 | 4500 | 5000 | 39447000 | 11505375 | 90% | 1 | 0
XL off-peak | 430 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 93.4 | 49 | 0 | 4500 | 4500 | 5000 | 17516346.4286 | 11505375 | 39.96% | 2.252 | 0
XL intermittent | 440 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 0 | 49 | 2000 | 2000 | 2000 | 5000 | 17532000 | 5113500 | 40% | 1 | 0
XL housing electric | 455 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 35 | 49 | 1200 | 1400 | 600 | 5000 | 8400750 | 3579450 | 19.17% | 1.2522 | 5
XL housing standard | 465 | ^(?:¦(?:LD¦Q)NO .*: )(?:Demand Category¦HV.*HH) | 35 | 49 | 1622.5 | 445 | 832.5 | 5000 | 7749691.875 | 1137753.75 | 17.68% | 1.8353 | 5
Domestic 1550 | 710 | (?:^¦: )(?:LV Network Domestic Disabled¦Domestic [UT]) | 35 | 49 | 0.3245 | 0.089 | 0.1665 | 6 | 1549.9384 | 227.5507 | 2.947% | 1.8353 | 0
Domestic 3100 | 720 | (?:^¦: )(?:LV Network Domestic Disabled¦Domestic [UT]) | 35 | 49 | 0.649 | 0.178 | 0.333 | 9 | 3099.8767 | 455.1015 | 3.929% | 1.8353 | 0
Domestic 8400 | 740 | (?:^¦: )(?:LV Network Domestic Disabled¦Domestic [UT]) | 35 | 49 | 1.2 | 1.4 | 0.6 | 18 | 8400.75 | 3579.45 | 5.324% | 1.2522 | 0
Other demand | 810 | All-the-way demand | 0 | 49 | 450 | 450 | 450 | 500 | 3944700 | 1150537.5 | 90% | 1 | 0
Other generation | 830 | All-the-way generation | 0 | 49 | 450 | 450 | 450 | 500 | 3944700 | 1150537.5 | 90% | 1 | 0